## Sheet1
Vary
| BD= Beam Diameter | 1-10 nm
| Beam spacing | 1 nm (check with Shadi and Zhaoxia)
| E (KeV) = Beam Energy | 1-10 KeV
| Beam Distribution | Gaussian, 1.65 Variance
| Scan | XY scan at 0,0,0 focus
| Sample angular rotation | 0,0
| E = number of simulated electrons | 1000-10000
| mrad = Beam semi-angle | 0 - 20 mrad
| particle material | solid gold at -15,0,-10 and and gold shell at 15,0,-10
| particle size | 10 nm radius
| shell thickness | 2 nm
| substrate material | silicon
| substrate thickness | 80 (or more) nm
| gold layer thickness | 0
| Number of points simulated | 2800 rectangle from (-40.33,-24.22) to (39.5, 20.64)
| Physics model | Monsel
| Max Range parameters | simulated
| Thresholding | Otsu
IMinSE, IMaxSE = Min/Max energy for Secondary Electrons
IMinBSE/IMaxBSE = Min/Max energy for Backscattered Electrons
BSEc = Backscatter electron coefficient
Sey = Secondary Electron yield
| FD_Solid | Feret Diameter Solid
| FD_Shollow | Feret Diameter Hollow
| nm per pixel | 30
| PI | 3.1416
|  |  | At 10,000 E | 2, 800 Points | 0 mrad
| BD(nm) | E (KeV) | BSEc | SEy | IMinSE | IMaxSE | 1MinBSE | IMaxBSE | Solid Area | Hollow Area | Xs | Xh | Pixels per nm | FD_Solid | FD_Shollow | FD_In | Difference
1 | 1 | 1 | 0.2555 | 0.86178 | 0 | 1805 | 0 | 618 | 20799 | 21451 | 173.67 | 427.665 | 8.4665 | 19.2208 | 19.5198 | 20 | 0.29894
2 | 5 | 1 | 0.2133 | 0.77272 | 1335 | 1659 | 206 | 5804 | 17640 | 18829 | 162.358 | 398.662 | 7.8768 | 19.0263 | 19.6571 | 20 | 0.63076
3 | 10 | 1 | 0.1552 | 0.51369 | 1917 | 15691 | 432 | 5714 | 32808 | 36271 | 223.253 | 545.671 | 10.7473 | 19.0172 | 19.9957 | 20 | 0.97849
4 | 1 | 5 | 0.065606 | 0.40559 | 2 | 6312 | 0 | 4606 | 25855 | 16430 | 186.997 | 470.352 | 9.4452 | 19.2096 | 15.3131 | 20 | 3.8964
5 | 5 | 5 | 0.047988 | 0.37077 | 808 | 3939 | 67 | 4636 | 32262 | 26538 | 214.076 | 527.364 | 10.4429 | 19.4079 | 17.6022 | 20 | 1.8057
6 | 10 | 5 | 0.038151 | 0.23847 | 917 | 3266 | 89 | 4565 | 37127 | 38620 | 220.809 | 548.244 | 10.9145 | 19.9203 | 20.3169 | 20 | 0.39658
7 | 1 | 10 | 0.025718 | 0.31062 | 6 | 5451 | 0 | 2170 | 15367 | 13251 | 199.992 | 507.863 | 10.2624 | 13.6302 | 12.657 | 20 | 0.97316
8 | 5 | 10 | 0.021008 | 0.28821 | 306 | 3161 | 25 | 2157 | 27483 | 18590 | 190.9 | 495.762 | 10.1621 | 18.4079 | 15.1395 | 20 | 3.2684
9 | 10 | 10 | 0.015993 | 0.1935 | 336 | 2094 | 41 | 2148 | 30557 | 25504 | 204.039 | 524.226 | 10.6729 | 18.4811 | 16.884 | 20 | 1.597
|  |  | At 1,000 E | 2, 800 Points | 5 mrad
| BD(nm) | E (KeV) | BSEc | SEy | IMinSE | IMaxSE | 1MinBSE | IMaxBSE | S area | H area | Xs | Xh | Pixels per nm | FD_Solid | FD_Shollow | FD_In | Difference
10 | 1 | 1 | 0.26441 | 0.91253 | 0 | 1833 | 0 | 622 | 26992 | 27905 | 194.798 | 484.083 | 9.6428 | 19.225 | 19.5475 | 20 | 0.32244
11 | 5 | 1 | 0.18892 | 0.79426 | 120 | 1771 | 20 | 633 | 24659 | 26254 | 189.123 | 467.5 | 9.2792 | 19.0955 | 19.7034 | 20 | 0.60789
12 | 10 | 1 | 0.17441 | 0.51496 | 180 | 1752 | 38 | 601 | 26112 | 29083 | 198.614 | 489.555 | 9.698 | 18.8014 | 19.8422 | 20 | 1.0408
13 | 1 | 5 | 0.055328 | 0.375 | 0 | 621 | 0 | 488 | 23103 | 14761 | 179.654 | 453.173 | 9.1173 | 18.8115 | 15.0365 | 20 | 3.775
14 | 5 | 5 | 0.051231 | 0.36453 | 52 | 465 | 6 | 483 | 28269 | 24094 | 196.214 | 488.637 | 9.7474 | 19.4634 | 17.9688 | 20 | 1.4946
15 | 10 | 5 | 0.041322 | 0.2531 | 66 | 356 | 10 | 480 | 32905 | 33631 | 197.82 | 494.788 | 9.8989 | 20.6775 | 20.9043 | 20 | 0.22686
16 | 1 | 10 | 0.027 | 0.28 | 0 | 583 | 0 | 247 | 11156 | 10338 | 181.604 | 459.162 | 9.2519 | 12.8818 | 12.4005 | 20 | 0.48126
17 | 5 | 10 | 0.022199 | 0.3108 | 21 | 310 | 3 | 241 | 24788 | 20199 | 212.849 | 543.342 | 11.0164 | 16.1263 | 14.5572 | 20 | 1.5691
18 | 10 | 10 | 0.013292 | 0.18303 | 23 | 231 | 3 | 246 | 25854 | 21702 | 193.134 | 491.889 | 9.9585 | 18.219 | 16.6921 | 20 | 1.5269
|  |  | At 1,000 E | 2, 800 Points | 20 mrad
| BD(nm) | E (KeV) | BSEc | SEy | IMinSE | IMaxSE | 1MinBSE | IMaxBSE | S area | H area | Xs | Xh | Pixels per nm | FD_Solid | FD_Shollow | FD_In | Difference
19 | 1 | 1 | 0.27345 | 0.82335 | 96 | 1791 | 9 | 612 | 32760 | 34092 | 220.687 | 541.095 | 10.6803 | 19.1225 | 19.5074 | 20 | 0.38488
20 | 5 | 1 | 0.23734 | 0.85104 | 195 | 1729 | 30 | 612 | 22794 | 24501 | 185.707 | 455.484 | 8.9926 | 18.9444 | 19.641 | 20 | 0.69655
21 | 10 | 1 | 0.16853 | 0.58477 | 215 | 1663 | 54 | 596 | 20223 | 22195 | 171.521 | 424.332 | 8.427 | 19.0416 | 19.9484 | 20 | 0.90681
22 | 1 | 5 | 0.065071 | 0.38086 | 69 | 591 | 1 | 492 | 19770 | 13055 | 163.091 | 411.383 | 8.2764 | 19.1697 | 15.5776 | 20 | 3.5921
23 | 5 | 5 | 0.047619 | 0.41376 | 67 | 439 | 12 | 493 | 25656 | 20661 | 191.064 | 474.335 | 9.4424 | 19.1412 | 17.1771 | 20 | 1.9641
24 | 10 | 5 | 0.045541 | 0.27135 | 79 | 391 | 12 | 475 | 25656 | 20661 | 191.064 | 474.335 | 9.4424 | 19.1412 | 17.1771 | 20 | 1.9641
25 | 1 | 10 | 0.021298 | 0.28702 | 17 | 540 | 0 | 243 | 16536 | 11494 | 147.765 | 373.047 | 7.5094 | 19.3226 | 16.1096 | 20 | 3.2129
26 | 5 | 10 | 0.021042 | 0.3507 | 17 | 355 | 2 | 252 | 12659 | 10605 | 164.761 | 415.453 | 8.3564 | 15.1927 | 13.9056 | 20 | 1.2871
27 | 10 | 10 | 0.023255 | 0.17998 | 22 | 254 | 3 | 232 | 19899 | 16016 | 172.817 | 445.127 | 9.077 | 17.5359 | 15.7322 | 20 | 1.8037

## Otsu_Thresholding
Vary
| BD= Beam Diameter | 1-10 nm
| Beam spacing | 1 nm (check with Shadi and Zhaoxia)
| E (KeV) = Beam Energy | 1-10 KeV
| Beam Distribution | Gaussian, 1.65 Variance
| Scan | XY scan at 0,0,0 focus
| Sample angular rotation | 0,0
| E = number of simulated electrons | 1000-10000
| mrad = Beam semi-angle | 0 - 20 mrad
| particle material | solid gold at -15,0,-10 and and gold shell at 15,0,-10
| particle size | 10 nm radius
| shell thickness | 2 nm
| substrate material | silicon
| substrate thickness | 80 (or more) nm
| gold layer thickness | 0
| Number of points simulated | 2800 rectangle from (-40.33,-24.22) to (39.5, 20.64)
| Physics model | Monsel
| Max Range parameters | simulated
| Thresholding | Otsu
IMinSE, IMaxSE = Min/Max energy for Secondary Electrons
IMinBSE/IMaxBSE = Min/Max energy for Backscattered Electrons
BSEc = Backscatter electron coefficient
Sey = Secondary Electron yield
| FD_Solid | Feret Diameter Solid
| FD_Shollow | Feret Diameter Hollow
| nm per pixel | 30
| PI | 3.1416
|  |  | At 10,000 E | 2, 800 Points | 0 mrad
| BD(nm) | E (KeV) | BSEc | SEy | IMinSE | IMaxSE | 1MinBSE | IMaxBSE | S area | H area | Xs | Xh | Pixels per nm | FD_Solid | FD_Shollow | FD_In | Difference
1 | 1 | 1 | 0.2555 | 0.86178 | 0 | 1805 | 0 | 618 | 20854 | 21518 | 173.1576 | 427.1873 | 8.4677 | 19.2436 | 19.5475 | 20 | 0.30396
2 | 5 | 1 | 0.2133 | 0.77272 | 1335 | 1659 | 206 | 5804 | 17708 | 18895 | 161.8853 | 398.1735 | 7.8763 | 19.6928 | 19.6928 | 20 | 0
3 | 10 | 1 | 0.1552 | 0.51369 | 1917 | 15691 | 432 | 5714 | 33013 | 36499 | 222.7485 | 545.2137 | 10.7488 | 20.0555 | 20.0555 | 20 | 0
4 | 1 | 5 | 0.065606 | 0.40559 | 2 | 6312 | 0 | 4606 | 25939 | 16707 | 186.51 | 469.8679 | 9.4453 | 15.4415 | 15.4415 | 20 | 0
5 | 5 | 5 | 0.047988 | 0.37077 | 808 | 3939 | 67 | 4636 | 32263 | 26619 | 213.5729 | 526.9017 | 10.4443 | 17.6267 | 17.6267 | 20 | 0
6 | 10 | 5 | 0.038151 | 0.23847 | 917 | 3266 | 89 | 4565 | 37133 | 38678 | 220.3101 | 547.7415 | 10.9144 | 20.3323 | 20.3323 | 20 | 0
7 | 1 | 10 | 0.025718 | 0.31062 | 6 | 5451 | 0 | 2170 | 15481 | 13292 | 199.4646 | 507.3446 | 10.2627 | 13.6802 | 12.6762 | 20 | 1.004
8 | 5 | 10 | 0.021008 | 0.28821 | 306 | 3161 | 25 | 2157 | 27816 | 18604 | 190.5289 | 495.2252 | 10.1565 | 18.5292 | 15.1535 | 20 | 3.3757
9 | 10 | 10 | 0.015993 | 0.1935 | 336 | 2094 | 41 | 2148 | 30575 | 25536 | 203.5427 | 523.6909 | 10.6716 | 18.4888 | 16.8967 | 20 | 1.5921